## Slide 1: Analysis_Tools_MWLab
5/30/2019, Thomas Rust, PhD

## Slide 2: Overview
Review of Current Programs
Questions, Suggestions
Management Discussion

## Slide 3: Quick Lesson in MATLAB Graphics Handles
hroot = groot; “get graphics root object”
  Root properties: see Children, CurrentFigure, Units, ScreenSize, etc
hfig = figure; -or- hfig=gcf; “get current figure”
  Figure properties: (parent = hroot)
    hfig.Number(read only); hfig.Name: ‘’; hfig.Color: [0.94 0.94 0.94]
    Units: default – ‘pixels’; Position: [680 678 560 420 ]; [left bottom width height]
    hfig.Units = “normalized”, hfig.Position = [0.35 0.56 0.29 0.35], (related to hroot.ScreenSize)
hax = Axes(hfig) (hax=gca; “get current axes”)
  Axes properties (parent = hfig, …or could be a UIpanel)
    Units, position (relative to parent figure)
    XLim,XTick, XLabel, etc. plus Y/Z Clim, Colormap, and so on…
    CameraPosition, CameraTarget, CameraAngle control 2D-3D views (whoa!)
UIControl objects (pushbutton, checkbox, slider, listbox, etc., see uicontrol properties)
“Callback functions” For help, search: callback definition

## Slide 4: Loading Scan Data
LoadFile_MWLab - loads data to command window or GUIs
Scanbox
  TTL inputs saved as timestamp w/frame#, line# in info file,
  *.ephys files – loaded if available, improves framerate estimates!
ScanImage
  TTL inputs saved as times in .tif headers
  **data are converted to uint16 w/offset = median of min values of first 60 frames (~4sec@15Hz)**
  Latest development: improved framerate estimates!
Neuroplex.m – aux BNC voltages converted to binary signals
MWfile struct : Type, dir, name, size, frames, framerate, im(cell for 2-channel data)
getFileInfo.m, getImageSize.m, getNumChannels.m

## Slide 5: Main Analysis GUI’s
ImageAnalysis
  view data from all rigs
  make maps w/ all odor trials
MapsAnalysis
  MapsData (base, response)
  Best tool for drawing ROIs
  Export .tif stacks, ORdata
MovieMaker
  Avg odor trials, show rois
  Make movies w/traces

## Slide 6: Time SerieS Analysis
hTS=TimeSeriesAnalysis; (or click on controls figure, type: “hTS = gcf”) see “UserData”
TSdata (full-length time series) - AKA “App Data”
  hTS.UserData.TSdata.file().roi().{time,series}
  ROIs have sub-frame time shifts (based on centroid y-position)
plotdata{} – current figure(s) w/interpolation and averaging
  Example: hTS.UserData.plotdata{}.file().roi().odor().trial().{time,series}
  Background ROI subtraction (interpolated to exact times for each ROI)
  ROIs combined by weighted “average” (#pixels)
  Use Aux signals to get pre- to post-stim frames (see getAllOdorTrials.m)
  TSdata interpolated to 150Hz (MATLAB interp1 w/“pchip”)
  Low/High pass filters; DF, DF/F calculations are done
  Last: Files/Odors/Trials selected & averaged (all trials weighted equally)

## Slide 7: New Image Analysis
Load 1 file - no list
Show Images or Movies (and save)
Select odors/trials, average
Draw ROIs - any frame
Show traces w/Movie
Establish your methods
Open multiple files in other GUIs: TimeSeriesAnalysis or MapsAnalysis, or use doBatchProcessing.m script

## Slide 8: Utilities Folder
“getdatatypes.m” and “getauxtypes.m”
doBatchProcessing – copy, edit, run
  Alignfiles, alignmeanfiles, make/save mapsdata, (do traces w/ ROIs)
  Odor trials processing not currently included
Updates to alignImage, alignMeanImages
getAllOdorTrials (1 file, outputs are not trials - frame indices)
  [allOdorTrials] = getAllOdorTrials(auxtype,prestimtime,poststimtime,mwfile)
  allOdorTrials.odor().trial().{auxindex,imindex} = which frames to grab
makeMaps
  Maps = makeMaps(mwdata, stim2use, baseTimes, respTimes)
  Mapsdata.file().odor().trial().{baseframes,baseim,respframes,respim}

## Slide 9: Other Folders: ROI Tools/ Behavior/ Docs/
ROIs GUI (drawROI_refine.m) – combines thresholding w/ region growing
Registration GUI
  Register images/rois to olfactory bulb coordinate system
  See ”OdorRespFile” button in MapsAnalysis
ROIvsOdorGUI.mlapp – new GUI for comparing odor response matrices
BehaviorAnalysis_MWLab (replaces olfactometry.m)
  TSdata2BehaviorData.m, TSplotData2olf.m
  Use if *.ephys data are available.
  DetectSniffsGUI – finds inhalations, exhalations and more (other applications?)
Documents – detailed explanations to help the next programmer (you!)
  Also see: “olfactometry_tcrcopy/HopeThisHelps_Olfactometry.docx”

## Slide 10: Questions / Suggestions
“Nullius in Verba”
-Don’t take my (or anybody’s) word for it.

## Slide 11: Management Discussion
Option #1 – To each his/her own; Make a copy and go…
Option #2 – Put someone in charge of updates
Option #3 – Move it to GITHub (shared ownership)
Other Ideas…

## Slide 12: Suggested Future Work
Data Acquisition
  Write a dashboard program to drive experiments and trigger 2p imaging rigs
  Try: WaveSurfer (https://wavesurfer.janelia.org/) in MATLAB
Data Server / Compute Server (Center for High Performance Computing)
Machine Learning and Data Mining
  Automatic ROI selection
    Try Trainable WEKA segmentation in ImageJ
    Try Suite 2P (convert data to HTF5)
    Develop a method to use our existing ROI tools to train Neural Network
  Add TSdata & MapsData to experiments Database
NWB – Neurodata w/out borders (structured HTF5 file format)

## Slide 13
Example NWB File
Resources:
  https://www.nwb.org/
  https://neurodatawithoutborders.github.io/
  Neuron, Vol 88, Issue 4, 18 Nov 2015, 629:634

## Slide 14
Thank you!
And always remember that success is 50% inspiration and 50% expiration